## Slide 1: Anchoring Solutions
strongtie.com

## Slide 2: Agenda
Anchoring opportunities
Product highlights
Product Guide overview
Notes: Here are the topics we’re going to run through in our short time.
(Learning Objectives) You should walk away from this being able to:
Provide an overview of the drilling and anchoring opportunities
Describe the types of anchor solutions offered by Simpson
Navigate the Anchor Systems Product Guide to find more information

## Slide 3: Anchoring Opportunities
Where holes are drilled…anchors are inserted!

## Slide 4: Structural Anchor Types
Two types of post-installed anchors:
Mechanical
Adhesive
Notes: We offer post-installed mechanical and adhesive anchors. All post-installed mechanical and adhesive anchors are installed in a pre-drilled hole in the base material. Post-installed anchors are effective when matched with base material suitable for anchoring.

## Slide 5: Cracked Concrete Solutions
For applications requiring cracked-concrete compliance
  AC308 (anchoring adhesives) / AC193 (mechanical anchors)
ET-HP®
Titen HD®
Strong-Bolt® 2
Titen HD® Rod Hanger
SET-XP®
AT-XP®
Pg. 10-27 in Product Guide
Notes: Wide-range of product solutions for applications requiring cracked-concrete compliance. Products are in compliance with ICC-ES AC308 (anchoring adhesives) or AC193 (mechanical anchors).
Most states across the country have now adopted the 2012 International Building Code (IBC) and many jurisdictions within each state are now enforcing the new code. As a result, engineers and designers are increasingly being required to specify anchors designed and tested to meet the new requirements of the code.

## Slide 6: Spec Book Example

## Slide 7: Simpson Strong-Tie Anchors
Let’s take a closer look at a few anchors…
Notes: Next we’re going to talk about these 4 anchor examples:
Titen HD
Strong-Bolt 2
SET-XP
AT-XP

## Slide 8: Titen HD® Screw Anchor
No special drill bit needed
Installs with 50% less torque
Hex-washer head
Removable – ideal for temporary anchoring
Notes: (Page 20-22 in Product Guide)
Code-listed under the current IBC/IRC in accordance with AC193 for cracked concrete applications per ICC-ES ESR-2713
Code-listed under the current IBC/IRC in accordance with AC106 for masonry applications per ICC-ES ESR-1056
Thread design undercuts to efficiently transfer the load to the base material
Specialized heat-treating process creates tip hardness for better cutting without compromising the ductility that helps prevent breakage
No special drill bit needed: Designed to install using standard-sized ANSI tolerance drill bits
Installs with 50% less torque: Testing shows that when compared to competitors, the Titen HD requires 50% less torque to be installed in concrete
Hex-washer head: Requires no separate washer and provides a clean installed appearance.
Removable: Ideal for temporary anchoring (e.g. formwork, bracing) or applications where fixtures may need to be moved. Re-use of the anchor to achieve listed load values is not recommended.

## Slide 9: Strong-Bolt® 2 Wedge Anchor
Static and seismic loading conditions
Horizontal, vertical and overhead applications
Qualified for minimum concrete thickness of 3 1/4"
High-strength alloy clip
Fits standard fixtures
Installs with common drill bit and tool sizes
Notes: (Page 18-19 in Product Guide)
Qualified for static and seismic loading conditions
Suitable for horizontal, vertical and overhead applications
Qualified for minimum concrete thickness of 3 1/4", including lightweight concrete-over-metal decking
Code-listed under the current IBC/IRC in accordance with AC193 for cracked and uncracked concrete applications per ICC-ES ESR-3037
Code-listed under the current IBC/IRC in accordance with AC01 for masonry applications per IAPMO UES ER-240
High-strength alloy clip (carbon version) for increased performance
Standard (ANSI) fractional sizes: fits standard fixtures and installs with common drill bit and tool sizes

## Slide 10: SET-XP® High-Strength Anchoring Adhesive
Suitable for static and seismic loading conditions
Teal color for easy post-installation identification
Threaded rod anchoring and rebar doweling
Horizontal, vertical and overhead applications
Multiple DOT listings
Notes: (Page 14-15 in Product Guide)
SET-XP has passed the demanding adverse-condition tests of ICC-ES AC308 pertaining to elevated temperature and long-term sustained load
Code-listed under the current IBC/IRC for cracked and uncracked concrete per ICC-ES ESR-2508
Code-listed under the current IBC/IRC for masonry per IAPMO UES ER-265
Suitable for use under static and seismic loading conditions in cracked and uncracked concrete
Cure times: 24 hours at 70°F, 72 hours at 50°F
Easy hole-cleaning procedure – no power brushing required
Suitable for use in damp or wet anchor sites
When properly mixed, adhesive will be a uniform teal color for easy post-installation identification
Available in 8.5 oz., 22 oz., and 56 oz. cartridges for application versatility
Made in the USA
Applications:
Threaded rod anchoring and rebar doweling into concrete and masonry
Suitable for horizontal, vertical and overhead applications
Multiple DOT listings, refer to www.strongtie.com/DOT for current approvals

## Slide 11: AT-XP® Anchoring Adhesive
High-Strength, Fast-Cure, All-Weather
Dark teal color for easy post-installation identification
Threaded rod anchoring and rebar doweling
Horizontal, vertical and overhead applications
Notes: (Page 12-13 in Product Guide)
AT-XP has passed the demanding adverse-condition tests of ICC-ES AC308 pertaining to reduced temperature, elevated temperature and long-term sustained load
Code-listed under the current IBC/IRC for cracked and uncracked concrete per IAPMO UES ER-263
Code-listed under the current IBC/IRC for masonry per IAPMO UES ER-281
Suitable for use under static and seismic loading conditions in cracked and uncracked concrete
Cure times: 24 hours at 14°F, 1 hour at 68°F
Easy hole-cleaning procedure – no power brushing required
Suitable for use in damp or wet anchor sites
When properly mixed, adhesive will be a uniform dark teal color for easy post-installation identification
Available in 9.4 oz., 12.5 oz., and 30 oz. cartridges for application versatility
Made in the USA
Applications:
Threaded rod anchoring and rebar doweling into concrete and masonry
Suitable for horizontal, vertical and overhead applications

## Slide 12: Direct Fastening
Gas-Actuated Fastening
Powder-Actuated Fastening

## Slide 13: Curtain Wall Connectors
Bypass Framing Slide-Clip
Head of Wall Slide-Clip
Bypass Framing Slide-Clip Strut
Bypass Framing Fixed-Clip
SCB/MSCB
SCW
SSB
FCB
Notes: [Make sure you have the latest literature with you, samples, product display]
On the next three slides, let’s review our CFS curtain wall, bridging, and utility clip connectors.
Explain the time savings this gives contactors, and why contractors like these products. For those of you distributors that concentrate on fasteners, you’re usually already selling to drywall contractors and may have opportunities to sell CFS to your existing customers.

## Slide 14: Bridging Connectors
Wall Stud Bridging Connector
Drywall Bridging Connector
SUBH/MSUBH
DBC
Notes: (Cover bridging connectors)

## Slide 15: Utility Clip Connectors
SSC
Steel-Stud Connector
Steel-Joist Connector
Steel Framing Connector
SJC
SFC
Notes: (Cover utility clip connectors)

## Slide 16: Product Guide
Product Guide for Anchoring and Fastening Systems
Sales tool
Provides quick reference for system components
Provides insight on anchor applications
Highlights potential opportunities for new sales
Notes: (Have participants refer to their Product Guide)
What is the Product Guide?
Sales tool
Provides quick reference for system components
Provides insight on anchor applications
Highlights potential opportunities for new sales
Let’s take some time to look at the Product Guide and how to use it.

## Slide 17: Product Guide
Page 3 – Navigation
  Cracked-Concrete Solutions
  Cold-Formed Steel Solutions
  Direct Fastening Solutions
  General Purpose Anchoring
  Restoration Solutions
  Accessories/Carbide
  Anchoring and Fastening Applications
  Reference Information
Notes: On page 3 you’ll see the main sections are color-coded, when you flip to that section, the edges of the page have the corresponding color.
The main sections are listed on the slide here – this is a high-level breakdown.

## Slide 18: Product Guide
Table of Contents
  By section (pg. 4-5)
  By product group (pg. 6)
Notes: On the next few pages we have the Table of Contents. There are two versions:
One table of contents is listed by section (meaning following the same order as the main colored tabs)
The second table of contents lists pages by product group (i.e. Adhesives, Carbide, Cold-Formed Steel..) in alphabetical order.
The goal is to help you find what you’re looking for quickly.

## Slide 19: Anchor Selection Guide
Page 8-9
Notes: The Anchor Selection Guide (page 8-9) in the front provides a summary of anchoring products, appropriate base materials, and a general assessment of load values and usage.
Let’s take a closer look… (next slide)

## Slide 20: Anchor Selection Guide
Select base material type.
2. Select allowable tension load range.
3. Select anchoring product.
Notes: (Slide content appears on click)
1. Select base material type.
2. Select allowable tension load range.
3. Select anchoring product.
This helps you narrow down which products are appropriate based on what you know about the application requirements.

## Slide 21: Product Guide Format
Two Sections
  Product guide
    Organized by different anchoring solution categories
    For use at analyzing opportunities to sell a particular product
  Application guide
    Organized by trades/contractor market
    For use with analyzing opportunities to sell to a particular trade
Notes: We’ve covered the front end of the Product Guide but now let’s get into the actual bulk of it. There are two main parts of the Product Guide.
The first is a series of product pages grouped together by section (Cracked Concrete Solutions, General Purpose Anchoring, etc). This is great for analyzing opportunities to sell a particular product
There’s also information grouped by trades or contractor markets that can help you analyze selling opportunities by trade.
First lets look at how information is displayed on product pages. Then we’ll look at the application guide.

## Slide 22: Product Pages
Provides product description
Lists features and code evaluations
Provides installation information
Notes: (Slide content appears on click)

## Slide 23: Product Pages
Provides model #’s & carton quantities
Lists material specifications
Notes: (Slide content appears on click)

## Slide 24: Product Pages
Adhesive product pages also show complimentary products
  Cartridge sizes
  Mixing nozzles
  Dispensing tools
  References to more information
    Drill bits & accessories
    Installation instructions
Notes: (Slide content appears on click)

## Slide 25: Grouped by Market
Applications by Contractor Market (pg. 143 – 165)
  Concrete and Masonry
  Commercial Drywall and Acoustical Ceiling
  Curtainwall, Glazing and Cladding
  Mechanical, Electrical and Plumbing
  Highway and Bridge
  Manufacturing, Maintenance and Material Handling
  Structural and Miscellaneous Steel
  Water and Sewage Treatment
  Wood Construction
  Concrete Repair / Restoration
  Specialty Applications
Notes: Ok now let’s take a look at the section of the Product Guide that is grouped by trades. This starts on page 143.
Here’s an example of one of the contractor market groupings: Highway and Bridge Applications (page 152-153 in the Product Guide).
Applications listed (with types of products used in application)
Dowels for New or Lane Addition
  (Anchoring adhesives)
Dowel Baskets
  (Direct fastening systems)
Dowels for Repairs
  (Anchoring adhesives)
Glare Screens
  (Strong-Bolt 2, Wedge-All, Anchoring adhesives)
Barriers and Guardrails
  (Anchoring adhesives)
Heavy- and Light-Duty Signs
  (Anchoring adhesives, Strong-Bolt 2, Wedge-All)
Dowels for Jersey Barriers
  (Anchoring adhesives)

## Slide 26: Remember…
Simpson Strong-Tie mechanical and adhesive anchors are:
  Code compliant
  Specified
Notes: (Wrap-up important points)
The Product Guide and our website are great resources to find more in-depth product and application information.

## Slide 27
Questions?
Notes: Are there any questions?

## Slide 28
1
1
2
2
3
3
4
4
Notes: Family Feud! – Introduction Slide – The Countdown!

## Slide 29
FAMILY FEUD FAMILY FEUD FAMILY FEUD FAMILY FEUD FAMILY FEUD FAMILY FEUD FAMILY FEUD FAMILY FEUD FAMILY FEUD FAMILY FEUD FAMILY FEUD FAMILY FEUD FAMILY FEUD FAMILY FEUD FAMILY FEUD FAMILY FEUD FAMILY FE
FAMILY FEUD FAMILY FEUD FAMILY FEUD FAMILY FEUD FAMILY FEUD FAMILY FEUD FAMILY FEUD FAMILY FEUD FAMILY FEUD FAMILY FEUD FAMILY FEUD FAMILY FEUD FAMILY FEUD FAMILY FEUD FAMILY FEUD FAMILY FEUD FAMILY FE
Notes: Family Feud! –Introduction Slide – Family Feud!

## Slide 30
31
25
18
14
9
3
X
X
X
X
X
X
Junction Boxes &
Breaker Panels
Transformers/Electrical Enclosures
Conduit Attachment
Cable Tray
Pipe Fixtures
System Controls
X
X
X
X
X
X
List 6 specific applications where and MEP contractor may use mechanical anchors:
Cheer
Silence
Lose
Win
Boo
Round 2
Notes: Family Feud Simpson Edition
List 6 specific applications where and MEP contractor may use mechanical anchors:
Junction Boxes & Breaker Panels
Transformers/Electrical Enclosures
Conduit Attachment
Cable Tray
Pipe Fixtures
System Controls

## Slide 31
35
28
20
12
5
X
X
X
X
X
X
Doweling contractor
Guardrails & barrier contractor
Equipment installer (manufacturing equipment)
Steel erector
Water treatment
X
X
X
X
X
X
Name 5 different Contractors/ installations that may use adhesive anchors:
Cheer
Silence
Lose
Win
Boo
Round 4
Notes: Family Feud Simpson Edition
Name 5 different Contractors/installations that may use adhesive anchors:
Doweling contractor
Guardrails & barrier contractor
Equipment installer (manufacturing equipment)
Steel erector
Water treatment